## Values
|  |  | 2026-02-06 | 9-Feb1 | 9-Feb Nanodrop2 |  |  | 2026-02-11 | 2026-02-11 |  |  |  | 2025-02-13 |  |  | 13 Feb (info added by Technician)
| Group | YOUR ID | Qubit | Qubit | ng/ul | 260/280 | 260/230 | Pooled conc3 |  | Sample ID | Treatment | Qubit4 ng/ul | Barcode ID | Qubit after Barcoding (ng/ul) | Qubit after Adapter Lig (ng/ul) | High Sensitivity Qubit (ng/ul)5
Control /lambda DNA 100ng/ul |  |  | 115 | ng/ul |  |  |  | 112 | Lambda |  |  | 111 |  | 94.4 |  |  | Approx ng of each barcode in 1 ul of lib | desired mass of each barcode6 | Volume (ul) containing 13.7ng of BC | Total ng lib | ng/barcode
Halvorsen, Ronja Aurora | Group 1 | 1-1 | 91 | 174 | 218.4 | 1.84 | 1.06 |  | Group 1 | 1-A | Needle | 41.6 | NB01 | 4.62 | too low | 6.08 | 1.52 | 13.7 | 9.0132 | 54.8 | 13.7
Larsen, Axel Heintz | Group 1 | 1-2 | 135 | 141 | 204.3 | 1.89 | 0.83 | 65.2 |  | 1-B | Vortex | 33.2 | NB02 |  |  |  | 1.52 | 13.7
Soderstrand-Hanssen, Amanda Kristin | Group 1 | 1-3 | 129 | 178 | 256.8 | 1.86 | 1.19 |  |  | 1-C | Temp Xtreme | 23.0 | NB03 |  |  |  | 1.52 | 13.7
Lægland, Oskar Solberg | Group 2 | 2-1 | too low | too low | 2.4 | 1.53 | 3.94 |  |  | 1-D | Crtl | 29.2 | NB04 |  |  |  | 1.52 | 13.7
Lund, Lena Alexandra | Group 2 | 2-2 | too low | too low | 3.7 | 1.6 | 0.44 | 65.4 | Group 2 | 2-A | Needle | 64.8 | NB05 | 8.28 | 4.86 | 8.32 | 2.7733 | 13.7 | 4.9399 | 41.1 | 13.7
Nekemwene, Gloria John | Group 2 | 2-3 | 23 | 24.8 | 32.8 | 1.86 | 1.58 |  |  | 2-B | Vortex | 71.2 | NB06 |  |  |  | 2.7733 | 13.7
Gulhaugen, Sofie | Group 3 | 3-1 | 82 | 158 | 213.7 | 1.86 | 1.87 |  |  | 2-C | Temp Xtreme | 50.0 | NB07 |  |  |  | 2.7733 | 13.7
Hamza, Amir | Group 3 | 3-2 | 84 | 147 | 204.2 | 1.93 | 0.86 | 93.4 |  | 2-D | Crtl | Not done
Lam, Iselin Xuan Thanh | Group 3 | 3-3 | 85 | 150 | 175.6 | 1.83 | 1.7 |  | Group 3 | 3-A | Needle | 59.8 | NB08 | 8,84 | 2 | 4.32 | 2.16 | 13.7 | 6.3426 | 27.4 | 13.7
Pettersen, Anne Marie Øydne | Group 4 | 4-1 | 46 | 99.4 | 108.2 | 1.86 | 2.51 |  |  | 3-B | Vortex | 57.0 | NB09 |  |  |  | 2.16 | 13.7
Risholt, Daniel Emil | Group 4 | 4-2 | 306 | 79.2 | 268 | 2.27 | 0.39 | 51.6 |  | 3-C | Temp Xtreme | too low
Tharmarajah, Luxmiga | Group 4 | 4-3 | 114 | 107 | 143.3 | 1.86 | 2.05 |  |  | 3-D | Crtl | Not done
Henriksen, Martin | Group 5 | 5-1 | 85 | 116 | 143.4 | 1.86 | 2.2 |  | Group 4 | 4-A | Needle | 78.6 | NB10 | 7.36 | 6.9 | 10.4 | 3.4667 | 13.7 | 3.9519 | 41.1 | 13.7
Plioplys, Rytis | Group 5 | 5-2 | 78 | 95.4 | 121.7 | 1.86 | 2.27 | 49.2 |  | 4-B | Vortex | 55.8 | NB11 |  |  |  | 3.4667 | 13.7
Timraz, Sarah | Group 5 | 5-3 | 37 | 57 | 74.9 | 2.85 | 2.28 |  |  | 4-C | Temp Xtreme | 76.4 | NB12 |  |  |  | 3.4667 | 13.7
Naustvik, Tuva Anine | Group 6 | 6-1 | 586 | 89.6 | 105.7 | 1.84 | 2.13 |  |  | 4-D | Crtl | Not done
Nicholson, Daniel James | Group 6 | 6-2 | 107 | 118 | 151.8 | 1.84 | 2.28 | 53.0 | Group 5 | 5-A | Needle | 79.6 | NB13 | 6.84 | 4.42 | 10 | 5 | 13.7 | 2.74 | 27.4 | 13.7
Zhan, Lihui | Group 6 | 6-3 | 107 | 142 | 182.9 | 1.84 | 1.92 |  |  | 5-B | Vortex | too low |  |  |  |  | 5 | 13.7
Haug, Anne-Marie Hjelle | Group 7 | 7-1 | 109 | 145 | 187.7 | 1.85 | 1.85 |  |  | 5-C | Temp Xtreme | too low
Odei, Derrick Kwame | Group 7 | 7-2 | 88 | 117 | 171.9 | 2 | 0.73 | 72.2 |  | 5-D | Crtl | 113 | NB14
Ostovari, Fatemeh | Group 7 | 7-3 | 10 | 18.2 | 26.5 | 5.84 | 0.12 |  | Group 6 | 6-A | Needle | 24.2 | NB15 | 4.04 | too low | 7.82 | 2.6067 | 13.7 | 5.2558 | 41.1 | 13.7
[10 empty] | 6-B | Vortex | 43.4 | NB16 |  |  |  | 2.6067 | 13.7
[10 empty] | 6-C | Temp Xtreme | 24.2 | NB17 |  |  |  | 2.6067 | 13.7
[10 empty] | 6-D | Crtl | Not done
[9 empty] | Group 7 | 7-A | Needle | 57.4 | NB18 | 9.12 | 6.48 | 13.5 | 4.5 | 13.7 | 3.0444 | 41.1 | 13.7
| 1=Qubit Measurements taken by Technicians | [8 empty] | 7-B | Vortex | 47.2 | NB19 |  |  |  | 4.5 | 13.7
| 2=Nanodrop + Qubit measurements taken by Technicians | [8 empty] | 7-C | Temp Xtreme | 66.4 | NB20 |  |  |  | 4.5 | 13.7
| 3=This is the conc (ng/ul) for the groups pooled sample. | [8 empty] | 7-D | Crtl | Not done
| 4=This is the conc (ng/ul) for each treated sample after cleanup (last step of endprep, Day 2). | [15 empty] | sum |  | 35.2878 | 274
5=This is conc (ng/ul) for your groups library after adapter ligation as measured by a lab technician using high sensitivity Qubit reagents
| 6=This value is calculated by multiplying the avg conc of the 7 libs (8.63 ng/ul) by the recommended total library volume (32ul) = 275ng total, and dividing this by the # of barcodes (20) to give the target mass per BC. | [16 empty] | 8.6343
[18 empty] | 8.6 * 32=275 | 275/20=13.7ng/barcode

## Gel Image
sample id | qubit | Nanodrop ng/ul | 260/280 | 260/230 | DNA loaded on the gel (ul) | group number | tube id
1 | 141 | 204.3 | 1.89 | 0.83 | 2 | 1 | 1.1
2 | 174 | 218.4 | 1.84 | 1.06 | 2 | 1 | 1.2
3 | 178 | 256.8 | 1.86 | 1.19 | 2 | 1 | 1.3
4 | 24.8 | 32.8 | 1.86 | 1.58 | 4 | 2 | 2A
5 | too low | 2.4 | 1.53 | 3.94 | 6 | 2 | 2B
6 | too low | 3.7 | 1.6 | 0.44 | 6 | 2 | 2C
7 | 147 | 204.2 | 1.93 | 0.86 | 2 | 3 | AH
8 | 150 | 175.6 | 1.83 | 1.7 | 2 | 3 | IL
9 | 158 | 213.7 | 1.86 | 1.87 | 2 | 3 | SG
10 | 99.4 | 108.2 | 1.86 | 2.51 | 3 | 4 | AM
11 | 107 | 143.3 | 1.86 | 2.05 | 2 | 4 | LT
12 | 79.2 | 268 | 2.27 | 0.39 | 2 | 4 | D
13 | 57 | 74.9 | 2.85 | 2.28 | 3 | 5 | ST
14 | 116 | 143.4 | 1.86 | 2.2 | 2 | 5 | M
15 | 95.4 | 121.7 | 1.86 | 2.27 | 2 | 5 | RP
16 | 118 | 151.8 | 1.84 | 2.28 | 2 | 6 | D2
17 | 142 | 182.9 | 1.84 | 1.92 | 2 | 6 | LIHIU
18 | 89.6 | 105.7 | 1.84 | 2.13 | 2 | 6 | T2
19 | 145 | 187.7 | 1.85 | 1.85 | 2 | 7 | 7.1
20 | 117 | 171.9 | 2 | 0.73 | 2 | 7 | 7.2
21 | 18.2 | 26.5 | 5.84 | 0.12 | 5 | 7 | 7.3
20kb
48.5kb
D2 LI T2 7.1 7.2 7.3
20kb
48.5kb
1.1 1.2 1.3 2A 2B 2C AH IL SG AM LT D ST M RP